Part		Working	Vacuum	Weight	Standard
I.D.	Number	O.D.	Pressure	Rating	per ft	Length

3”	G645-300	3.75"	150 psi	Full	2.80 lb	100 ft